## Complaints
Ticket ID | Customer Name | Phone | Email | KSEB Consumer No. | Place | District | Pincode | Address | Complaint Type | Description | Status | Urgency | Technician | Admin Notes | Completion Notes | Registered On | Completed On
VK-20260529-DE3E0 | Abdul Nasser | 9656501018 | nasarpa313@gmail.com |  | Kakkancheri | Malappuram | 673634 | Pathiyatt arappoyil house vailatt road cheloopadam | Inverter Fault | Set the inverter from 190v to 180v because the voltage drop is too high. | RESOLVED | LOW | Nehan VK Hamdan |  | Made as well as the video send by Naseel veekey and changed to 170 | 30/5/2026, 3:55:42 am | 3/6/2026, 4:03:38 pm
VK-20260530-KGDTM | Vaheeda Subair | 9995573607 | vaheeda699@gmail.com |  | Kakkur | Kozhikode | 673583 | Isal (H), near Kakkur Bridge | System Not Working | Solar not working | RESOLVED | MEDIUM | Rahal Rahman | Other (describe below) Details: Wifi already configuration done by customer with another username | Second completion attempt on already resolved job. | 30/5/2026, 10:30:30 am | 1/6/2026, 10:39:00 pm
VK-20260530-QRO1P | Baiju K | 8075656175 |  |  | Athanikkal | Malappuram | 673314 | Near Navajeevan school | System Not Working | Error F35 Earth problem Meter not working | ON HOLD | HIGH | Swaleeq | Inverter sent for replacement Details: Inverter sent for replacement Details: Lightning strikes the inverter Replacement inverter ordered Vsole complaint no 4737 |  | 30/5/2026, 2:38:05 pm
VK-20260601-COATH | Noushad M | 7194944148 | mnnoushad12@gmail.com |  | Idimuzhikkal | Malappuram | 673631 |  | Inverter Fault | F64 Inverter replacement | ON HOLD | LOW | Swaleeq | Inverter sent for replacement Details: F64 Inverter replacement |  | 1/6/2026, 10:55:27 am
VK-20260601-UOBNF | Mohammed Basheer K C | 9447350650 | kcbasheerpkl@gmail.com |  | Valiyaparamba | Malappuram | 673648 | Kudukkil choorathil Near PHC Palaparamba | System Not Working | Meeter complaint | ON HOLD | LOW | Swaleeq | Other (describe below) Details: Energy Meter complaint Consumer no: 1165533012117 Pulikkal section |  | 1/6/2026, 11:15:56 am
VK-20260601-Y96EL | Dr A B Moideenkutty | 9447530013 | abmoideen@gmail.com |  | Vaikathupadam | Malappuram | 673636 | Abys ayyaril house devathiyal paremba near jalanidhi tank | Battery Issue | It is not working properly . Maximum half an hour functions | OPEN | LOW | Swaleeq | Inverter complaint it's not solar |  | 1/6/2026, 5:34:55 pm
VK-20260602-VFSXB | Kandathinkara James Joseph | 9847058407 | kjjosephvengara@gmail.com | 1165772026258 | Vaikathupadam | Malappuram | 673636 | Kandathinkara house shanti nagar, tenhipalam, Kohinoor, Malappuram | System Not Working | 405 code error and the system has been down for a month please come as soon as possible | RESOLVED | MEDIUM | Swaleeq |  | Mc4 burned | 2/6/2026, 9:24:09 am | 2/6/2026, 8:03:07 pm
VK-20260602-UTSOK | Abdul hakheem p | 9745584784 | arshakhp@gmail.com | 1168089001363 | Kovilpalaiyam | Coimbatore |  | Kilinakkode kashmir near Kashmir juma masjid | System Not Working | Sollar not working | RESOLVED | MEDIUM | Swaleeq |  | Completed Ok | 2/6/2026, 2:08:42 pm | 2/6/2026, 4:40:38 pm
VK-20260602-Q2IZF | Musthafa payambrot | 9072853030 | mubaris2255@gmail.com | 1165532021499 | Kottappuram | Malappuram | 673653 |  | Other | Water Leakage behind DC PVC Pipe | RESOLVED | HIGH | Swaleeq |  | Water leaking through earth pipes | 2/6/2026, 4:02:15 pm | 3/6/2026, 12:50:56 pm
VK-20260602-QG4YM | SM Somasundaran | 9526729544 | somansuja1972@gmail.com | 1166338026159 | Kozhikode | Kozhikode | 673632 | Suja Nivas, Parammal.. Ramanattuka.kozhikode | Other | Smart client App is not working | RESOLVED | HIGH | Nehan VK Hamdan |  | Wifi connection done | 2/6/2026, 5:08:00 pm | 3/6/2026, 3:18:44 pm
VK-20260602-9KS8V | Muhammed ashraf pk | 7356552791 | muhammedashrafpk4@gmail.com | 1235698074523 | Kakkancheri | Malappuram | 673634 |  | Other | My inverter a short-circuit fault today and stopped working properly. Please arrange and repair as soon as possible | OPEN | LOW | Shyam | Call before going |  | 2/6/2026, 10:04:40 pm
VK-20260603-WF9QP | ABDUL HAKHEEM P | 9745584784 | arshakhp@gmail.com | 1168089001363 | Parakkanni | Malappuram | 676314 | Near Kashmir juma masjid kilinakkde | System Not Working | State error f19 on inverter | OPEN | HIGH | Unassigned |  |  | 3/6/2026, 2:15:50 pm

## Summary
Metric | Value
Total Complaints | 12
Open | 3
In Progress | 0
On the Way | 0
On-site | 0
Resolved | 6
Critical | 0
High Urgency | 4
Report Generated | 3/6/2026, 5:19:27 pm